## Slide 1: Maximizing Your Alarm System’s Effectiveness

## Slide 2: Test Your Alarm System
Test monthly (at least quarterly)
Call your alarm company before you test
Include doors, windows and motion sensors
Notes: If using Voice Over Internet Protocol (VOIP) testing is needed more frequently.

## Slide 3: Maintain Your System
Regular maintenance is necessary for properly functioning alarm systems
Replace batteries at regular intervals

## Slide 4: Maintain Your System
Annual or biennial service agreements are available from your alarm company

## Slide 5: Learn Your System
Familiarize yourself with all of your alarm system’s functions
Review the user’s manual

## Slide 6: Use Your System
Continual use will ensure your system is working properly

## Slide 7: Avoid False Alarms
#1 reason for false alarms is user error

## Slide 8: Contact Us
False Alarm Reduction Association 10024 Vanderbilt Circle #4 Rockville MD 20850
301- 519-9237
Brad Shipp, Executive Director bradshipp@4yoursolution.com
www.faraonline.org